## Slide 1
MR CHOLANGIOPANCREATOGRAPHY: WHAT EVERY RADIOLOGY RESIDENT MUST KNOW
BRUNO P. C. VIDAL, MD 1
DANIEL LAHAN-MARTINS, PhD 1
THIAGO J. PENACHIM, MD 1
MARCO ALEXANDRE M. RODSTEIN, MD 1
PATRÍCIA P. CARDIA, PhD 1
ADILSON PRANDO, MD 1
1 Department of Radiology and Imaging Diagnosis, Vera Cruz Hospital – Campinas Radiological Center, Campinas, SP, Brazil

## Slide 2
1 Department of Radiology and Imaging Diagnosis, Vera Cruz Hospital – Centro Radiológico Campinas, Campinas, SP, Brazil.
Corresponding author: D.L.M., dlahan@unicamp.br
Presented as an education exhibit during RSNA 2019 (GI282-ED-SUB9 - MR Cholangiopancreatography: What Every Radiology Resident Must Know).
There is no conflict of interest in this presentation.

## Slide 3
LEARNING OBJECTIVES
AFTER REVIEWING THIS PRESENTATION SPECIALLY AIMED FOR RADIOLOGY RESIDENTS, TRAINEES AND THEIR TUTORS, THE LEARNER SHOULD BE ABLE TO:
  UNDERSTAND HOW MR CHOLANGIOPANCREATOGRAPHY (MRCP) IS PERFORMED, FOCUSING ON CURRENT TECHNIQUES, ADVANTAGES, ARTIFACTS, PITFALLS AND HOW TO AVOID THEM;
  DISCUSS THE INDICATIONS OF MRCP IN CORRELATION TO ENDOSCOPIC RETROGRADE CHOLANGIOPANCREATOGRAPHY (ERCP);
  ACCESS NORMAL / VARIANT BILIARY ANATOMY;
  IDENTIFY COMMON BILIARY PATHOLOGY SUCH AS STONES, BENIGN / MALIGNANT STRICTURES, LEAKS, IATROGENIC LESIONS AND OTHERS.

## Slide 4
INTRODUCTION
MAGNETIC RESONANCE CHOLANGIOPANCREATOGRAPHY (MRCP) IS A WIDELY USED NON-INVASIVE METHOD IN THE EVALUATION OF PANCREATOBILIARY DISORDERS.
AS OPPOSED TO ENDOSCOPIC RETROGRADE CHOLANGIOPANCREATOGRAPHY (ERCP) IT ALLOWS EVALUATION OF BILIARY DUCTS BOTH UPSTREAM AND DOWNSTREAM TO INJURY, AS WELL AS EXTRA DUCTAL LESIONS, WHEN COMBINED WITH T1 AND T2 WEIGHTED IMAGES.
TECHNIQUE AND PROTOCOLS MAY VARY, BUT THERE ARE SOME KEY POINTS THAT EVERY RADIOLOGIST MUST KNOW IN ORDER TO PERFORM AND EXTRACT THE BEST OUT OF THIS METHOD.

## Slide 5
DURING REGULAR ENDOSCOPIC RETROGRADE CHOLANGIOPANCREATOGRAPHY (ERCP), THE ENDOSCOPE IS INTRODUCED VIA ESOPHAGUS, PASSES THROUGH THE STOMACH AND REACHES THE DUODENAL PAPILLA, WHERE THE CONTRAST IS INJECTED INTO THE BILIARY TRACT.
?
ERCP
?
MRCP
+ ADDITIONAL MRI SEQUENCES
EVEN THOUGH ERCP CAN BE THERAPEUTIC, IN CASE OF EXTRINSIC OBSTRUCTION, THE CONTRAST AGENT STOPS AT THAT POINT AND THE UPSTREAM BILIARY TRACT CANNOT BE EXAMINED.
MAGNETIC RESONANCE CHOLANGIOPANCERATOGRAPHY (MRCP) ALLOWS EVALUATION OF BILIARY DUCTS BOTH UPSTREAM AND DOWNSTREAM TO INJURY.
WHEN ASSOCIATED WITH ADDITIONAL MRI SEQUENCES IT ALLOWS EXAMINATION OF EXTRADUCTAL LESIONS AS WELL AS ADJACENT STRUCTURES, CONTRIBUTING TO DIAGNOSIS.

## Slide 6
THE BILIARY DRAINAGE SYSTEM RUNS PARALLEL TO THE PORTAL VENOUS SYSTEM; THEREFORE THEY ARE BOTH VERY SIMILAR.
THE BILE DUCTS CAN BE CLASSIFIED INTO:
1ST ORDER BILE DUCTS
2ND ORDER BILE DUCTS
3RD ORDER BILE DUCTS (SMALL INTRA-HEPATIC BRANCHES)
CYSTIC
DUCT (C)
COMMON BILE DUCT
COMMON HEPATIC DUCT (CHD)
LEFT HEPATIC
DUCT (LHD)
RIGHT HEPATIC
DUCT (RHD)
RIGHT ANTERIOR
BRANCH (RA)
RIGHT POSTERIOR
BRANCH (RP)
LEFT MEDIAL BRANCH (LM)
LEFT LATERAL BRANCH (LL)
BILIARY ANATOMY
PORTAL VENOUS SYSTEM

## Slide 7
BRANCHING PATTERNS OF THE RIGHT HEPATIC BILE DUCT:
TYPICAL BILIARY ANATOMY (TYPE I)
TYPE I: (RP) DUCT JOINING (RA) MEDIALLY TO FORM (RHD)
TYPE II: TRICONFLUENCE – SIMULTANEOUS EMPTYING OF THE (RA), (RP) AND (LHD) INTO THE (CHD)
TYPE III-A: ANOMALOUS DRAINAGE OF (RP), JOINING (LHD) – CROSSOVER ANOMALY
TYPE III-B: ANOMALOUS DRAINAGE OF (RP), JOINING (CHD)
TYPE III-C: ANOMALOUS DRAINAGE OF (RP), JOINING CYSTIC DUCT
TYPE IV: ABERRANT DRAINAGE OF (RHD) INTO THE CYSTIC DUCT
TYPE V: ACCESSORY RIGHT HEPATIC DUCT
TYPE VI: SEGMENTS II AND III DUCT DRAINING INDIVIDUALLY INTO THE (RHD) OR (CHD)
TYPE VII: OTHERS AND UNCLASSIFIED VARIATIONS
ANATOMIC VARIATIONS

## Slide 8
TYPE III-C: ANOMALOUS DRAINAGE OF (RP), JOINING CYSTIC DUCT (RED CIRCLE)
TYPE II: TRICONFLUENCE (RED CIRCLE) – SIMULTANEOUS EMPTYING OF THE (RA), (RP) AND (LHD) INTO THE (CHD)
TYPE III-B: ANOMALOUS
DRAINAGE OF (RP), JOINING COMMON HEPATIC DUCT (RED CIRCLE)
BRANCHING PATTERNS OF THE RIGHT HEPATIC BILE DUCT
ANATOMIC VARIATIONS

## Slide 9
BRANCHING PATTERNS OF THE RIGHT HEPATIC BILE DUCT
TYPE III-A: ANOMALOUS DRAINAGE OF (RP), JOINING (LHD) – CROSSOVER ANOMALY (RED CIRCLE)
!
BE AWARE
CANTLIE’S
LINE
IN CASE OF LEFT HEPATECTOMY, THERE COULD BE AN IATROGENIC LESION DUE TO THE FACT THAT RESSECTION ALONG THE CANTLIE’S LINE (HEPATECTOMY PLANE) WILL TEAR THE RPD
ANATOMIC VARIATIONS

## Slide 10
TYPICAL BILIARY ANATOMY
BRANCHING PATTERNS OF THE LEFT HEPATIC BILE DUCT:
TYPE A: COMMON TRUNK OF SEGMENT II AND III JOINS SEGMENT IV
TYPE B: TRICONFLUENCE
OF SEGMENTS II, III AND IV
TYPE C: SEGMENT II DUCT DRAINS INTO
COMMON TRUNK OF SEGMENT III AND SEGMENT IV
LEFT HEPATIC
DUCT (LHD)
LEFT HEPATIC
DUCT (LHD)
LEFT HEPATIC
DUCT (LHD)
TYPE D: OTHERS AND UNCLASSIFIED VARIATIONS
ANATOMIC VARIATIONS

## Slide 11
TYPICAL BILIARY ANATOMY
COMMON AND UNCOMMON VARIATIONS OF THE GALLBLADDER AND CYSTIC DUCT:
RIGHT LATERAL INSERTION
ANTERIOR / POSTERIOR SPIRAL INSERTION
PROXIMAL
INSERTION
LOW MEDIAL INSERTION
DOUBLE CYSTIC DUCT
CHOLECYSTOHEPATIC DUCT
ABSENT CYSTIC DUCT
DOUBLE GALLBLADDER
ANATOMIC VARIATIONS

## Slide 12
COMMON AND UNCOMMON VARIATIONS OF THE GALLBLADDER AND CYSTIC DUCT
LOW MEDIAL INSERTION
(RED CIRCLE)
POSTERIOR SPIRAL INSERTION (RED ARROWHEADS)
DOUBLE GALLBLADDER
(RED ARROWHEADS)
ANATOMIC VARIATIONS

## Slide 13
VARIATIONS IN CONFIGURATION OF THE PANCREATIC DUCT:
BIFID CONFIGURATION WITH DOMINANT DUCT OF WIRSUNG DRAINAGE WITHOUT DIVISUM
COMMON BILE DUCT
DUODENUM
MINOR PAPILLA
MAJOR PAPILLA
DORSAL PANCREATIC DUCT (SANTORINI)
VENTRAL PANCREATIC DUCT (WIRSUNG)
BIFID CONFIGURATION WITH DOMINANT DORSAL PANCREATIC DUCT DRAINAGE WITHOUT DIVISUM
RUDIMENTARY NON-DRAINING DORSAL PANCREATIC DUCT
PANCREAS DIVISUM
ANSA PANCREATICA
ANATOMIC VARIATIONS

## Slide 14
LONG PANCREATOBILIARY COMMON DUCT ( > 1,5cm )
ANATOMIC VARIATIONS
RISK FACTOR FOR:
ACUTE PANCREATITIS
CHOLANGITIS
CHOLEDOCHAL CYSTS
BILIARY TREE NEOPLASIA (including gallbladder)
ANOMALOUS PANCREATOBILIARY JUNCTION (APBJ):
BILIARY COMMON DUCT DRAINING INTO MAIN PANCREATIC DUCT (RED ARROWHEAD)
MAIN PANCREATIC DUCT DRAINING INTO BILIARY COMMON DUCT (RED ARROWHEAD)
BP TYPE
PB TYPE
DESCENDING COURSE
VERTICAL COURSE
SIGMOID COURSE
LOOP SHAPED COURSE
VARIATIONS IN COURSE OF THE PANCREATIC DUCT:

## Slide 15
PANCREAS
DIVISUM (RED ARROWHEADS)
ANATOMIC VARIATIONS
LOOP SHAPED COURSE (RED ARROWHEADS)

## Slide 16
WHEN TO DO MRCP?
CHOLESTASIS OR CHOLESTATIC SYNDROME
EVALUATION OF BILIARY ANATOMIC VARIATIONS
PREOPERATIVE
OF HEPATIC RESECTION
BILIARY POSTOPERATIVE EVALUATION
DIAGNOSIS AND EVALUATION OF PSC
PANCREATITIS OF UNKNOWN ETIOLOGY
UNSUCCESSFUL ERCP OR CONTRAINDICATION
BILIARY-ENTERIC ANASTOMOSIS (BILROTH II and CHOLEDOCHOJEJUNOSTOMY)
NONINVASIVE PROCEDURE
DOES NOT USE IONIZING RADIATION
LESS OPERATOR DEPENDENT THAN ULTRASOUND AND ERCP
ALLOWS DETECTION OF EXTRADUCTAL DISEASE (WHEN COMBINED WITH T1 AND T2 WEIGHTED IMAGES)
EXPENSIVE (WHEN COMPARED TO ULTRASOUND)
REQUIRES PATIENT’S COOPERATION
(BREATH HOLD – STAY STILL)
POORER SPATIAL RESOLUTION / DEFINITION (WHEN COMPARED
TO ERCP)
ADVANTAGES VS. DISADVANTAGES
INABILITY TO INTERVENE / BIOPSY (WHEN COMPARED TO ERCP)

## Slide 17
TWO-DIMENSIONAL (2D) RADIAL
CHOLANGIO (THREE-DIMENSIONAL) 3D
MRPC IS BASED ON HEAVILY
T2-WEIGHTED SEQUENCES
STATIONARY FLUID-FILLED STRUCTURES’ SIGNAL IS GREATLY INCREASED
RESULTING IN INCREASED DUCT-TO-BACKGROUND CONTRAST
POSTSECRETIN ADMINISTRATION ACQUISITION MRCP (S-MRCP)
BREATH-HOLD
5-8 SLICES (40 mm)
GUIDE FOR THIN SLAB ACQUISITIONS
FINE DETAILS OF BD/PD
RESPIRATORY TRIGGERING
SINGLE VOLUME ACQUISITION
(THIN SLICES)
3-5 MINUTES ACQUISITION TIME
ALLOWS MPR AND 3D REFORMATTING
IV SECRETIN STIMULATES PANCREATIC SECRETION
ALLOWS FOR BETTER VISUALIZATION OF PANCREATIC DUCTS
4-6 HOUR FASTING IS REQUIRED PRIOR TO THE STUDY
REDUCES FLUID SECRETION WITHIN THE STOMACH AND DUODENUM
REDUCES BOWEL PERISTALSIS
PROMOTES GALLBLADDER DISTENSION
ANTICHOLINERGIC / ANTISPASMODIC DRUGS CAN BE USED AS WELL
TECHNIQUE & PROTOCOLS

## Slide 18
2D RADIAL
BREATH-HOLD
5-8 SLICES (40 mm)
GUIDE FOR THIN SLAB ACQUISITIONS
FINE DETAILS OF BD/PD
TECHNIQUE & PROTOCOLS

## Slide 19
CHOLANGIO 3D
RESPIRATORY TRIGGERING
SINGLE VOLUME ACQUISITION (THIN SLICES)
3-4 MINUTES ACQUISITION TIME
ALLOWS MPR AND 3D REFORMATTING
TECHNIQUE & PROTOCOLS

## Slide 20
TECHNIQUE & PROTOCOLS
CE-MRC
(ACTIVE MRC)
BRIGHT BILE ON T1 WEIGHTED IMAGES SINCE THE CONTRAST IS EXCRETED IN THE BILE DUCTS
HIGH-RESOLUTION / VOLUME T1
HEPATOSPECIFIC PARAMAGNETIC GADOLINIUM-BASED CONTRAST MEDIA

## Slide 21
WHEN TO ADD OTHER MRI SEQUENCES?
SUSPECTED OR CONFIRMED NEOPLASIA
TO BETTER EVALUATE INFECTIONS
TO BETTER EVALUATE PANCREATITIS
ANALYZING PATHOLOGIES NOT RELATED TO BILE DUCTS
PANCREAS
GALLBLADDER
BILIARY DUCTS
CHOLANGITIS
ABSCESS
DIFFERENTIATING EDEMATOUS FROM NECROTIZING
EVALUATE COMPLICATIONS
INCIDENTAL PATHOLOGIES IN UPPER ABDOMEN
MRCP SEQUENCES (HEAVILY T2WI TO EVALUATE BILIARY DUCTS, GALLBLADDER AND PANCREATIC DUCT) CAN EVENTUALLY BE COMPLEMENTED WITH ADDITIONAL DIRECTED MRI SEQUENCES (T1 AND T2 WI) AS WELL AS THE USE OF ENDOVENOUS PARAMAGNETIC CONTRAST ADMINISTRATION, DEPENDING ON CLINICAL INDICATION OR IMAGING FINDINGS.

## Slide 22
OBSTRUCTION PATTERNS RELATED TO BILIARY TRACT DISEASES
BENIGN
MALIGNANT
CALCULI TYPICALLY PRODUCE INTRALUMINAL ROUNDED FILLING DEFECTS OR MENISCUS-SHAPED LUMEN TERMINATION
USUALLY ABRUPT, REGULAR AND SMOOTH SHAPED OBSTRUCTIONS
EXTRINSIC INFLAMMATORY DISEASE (CHRONIC CHOLECYSTITIS, PANCREATITIS) USUALLY PRODUCES A ROUNDED COMPRESSION OF THE ADJACENT BILE DUCT
POSTOPERATIVE FIBROTIC STRICTURES USUALLY APPEAR AS A SHORT, FOCAL STRICTURE OR SHORT SEGMENTAL DUCT OCCLUSION
USUALLY ASYMMETRIC, LONG AND IRREGULAR SHAPED OBSTRUCTIONS
CONCOMITANT DILATED BILIARY AND PANCREATIC DUCT (WHEN DISTAL LESION)
A GLANCE AT PATHOLOGY

## Slide 23
DISEASES RELATED TO BILIARY TRACT
INFECTION
OBSTRUCTION
NEOPLASIA
CONGENITAL
IATROGENIC / TRAUMATIC
BENIGN
MALIGNANT
INFLAMMATORY
CHOLEDOCHOLITHIASIS (MOST COMMOM)
ACUTE CHOLANGITIS
PRIMARY SCLEROSING CHOLANGITIS
BILIARY ATRESIA
POST SURGERY BILE LEAKS / OBSTRUCTION OR BILOMAS
PANCREATIC HEAD ADENOCARCINOMA
CHOLANGIOCARCINOMA
AMPULLARY CARCINOMA
A GLANCE AT PATHOLOGY
GALLBLADDER CARCINOMA

## Slide 24
DISEASES RELATED TO BILIARY TRACT
BENIGN
OBSTRUCTION
CHOLEDOCHOLITHIASIS
BILE: VERY BRIGHT SIGNAL
STONES OR CALCULI IN THE COMMON BILE DUCT
MRCP HAS HIGH SENSITIVITY (81-100%) AND SPECIFICITY (85-100%)
MRCP 3D
T2 WI
MRCP 3D
BILIARY “STEINSTRASSE” (RED ARROWHEADS)
DUCTAL STONE: LOW-INTENSITY SIGNAL FOCI (RED ARROWHEADS)
T2 WI
CALCULI TYPICALLY PRODUCE INTRALUMINAL ROUNDED FILLING DEFECTS OR MENISCUS-SHAPED LUMEN TERMINATION
A GLANCE AT PATHOLOGY

## Slide 25
DISEASES RELATED TO BILIARY TRACT
BENIGN
OBSTRUCTION
MIRIZZI SYNDROME
EXTRINSIC COMPRESSION OF AN EXTRAHEPATIC BILIARY DUCT FROM ONE OR MORE CALCULI WITHIN THE CYSTIC DUCT OR GALLBLADDER
A GLANCE AT PATHOLOGY
CONTRACTED GALLBLADDER WITH MULTIPLE CALCULI (RED ARROWHEADS). ONE OF THEM, LOCATED IN THE INFUNDIBULUM / CYSTIC DUCT (BLUE ARROWHEADS), DETERMINES EXTRINSIC COMPRESSION OF THE COMMON HEPATIC DUCT, AND CONSEQUENT MODERATE UPSTREAM BILE DUCTS DILATATION.
MRCP 3D
CORONAL T2 WI
AXIAL T2 WI

## Slide 26
DISEASES RELATED TO BILIARY TRACT
BENIGN
INFECTION
BACTERIAL ACUTE CHOLANGITIS
INFLAMMATION OF INTRA/EXTRAHEPATIC BILE DUCT WALLS, USUALLY DUE TO DUCTAL OBSTRUCTION AND INFECTION
PARENCHYMAL AND BILIARY CHANGES CAN ALSO BE SEEN IN THIS CASE, AS WELL AS INTRA-HEPATIC ABSCESS (RED ARROWHEADS) AS A COMPLICATION OF ACUTE BACTERIAL CHOLANGITIS.
DISTAL CHOLEDOCHOLITHIASIS WITH SIGNS OF ACUTE CHOLANGITIS. NOTE THAT THE FILLING DEFECT IN DISTAL CBD (RED ARROWHEAD) CAUSES BILIARY DILATATION. TRANSIENT PERFUSIONAL DISORDER (BLUE ARROWHEADS) AND BILIARY DUCT WALL THICKENING (GREEN ARROWHEAD) LEAD TO CHOLANGITIS DIAGNOSIS.
T1WI PRE-GD
ARTERIAL
PORTAL
EQUILIBRIUM
A GLANCE AT PATHOLOGY

## Slide 27
DISEASES RELATED TO BILIARY TRACT
BENIGN
INFLAMMATORY
PRIMARY SCLEROSING CHOLANGITIS (PSC)
CHRONIC IDIOPATHIC INFLAMMATORY PROCESS OF BILE DUCTS
MIP REFORMATTED 3D MRCP IMAGE OF A PSC CASE SHOWING IRREGULAR STRICTURES WITH SEGMENTAL DILATATIONS (RED ARROWHEADS) OF INTRA-HEPATIC BILE DUCTS
OTHER MRI FINDINGS OF PSC INCLUDE LOW SIGNAL INTENSITY ALONG BILE DUCTS & PORTAL VEINS ON T1WI (RED ARROWHEADS), AS WELL AS HIGH SIGNAL INTENSITY OF THESE STRUCTURES ON T2WI, MEANING PERIPORTAL FIBROSIS (BLUE ARROWHEADS).
A GLANCE AT PATHOLOGY

## Slide 28
DISEASES RELATED TO BILIARY TRACT
BENIGN
IATROGENIC / TRAUMATIC
POST SURGERY BILE LEAKS / OBSTRUCTION OR BILOMAS
IATROGENIC / TRAUMATIC LESIONS INVOLVING THE BILIARY TREE CAN LEAD TO BILE LEAKAGE, BILOMAS, STRICTURES, BILIARY TREE OBSTRUCTION, VARIOUS TYPES OF BILIARY FISTULAS, AND HEMOBILIA.
IATROGENIC DISTAL CBD LIGATURE
NOTE THAT THERE IS ABRUPT INTERRUPTION OF THE COMMON HEPATIC BILE DUCT (RED ARROWHEADS) WITH INTRA-HEPATIC BILE DUCTS DILATATION. THIS WAS CONFIRMED WITH ERCP WHERE THE CONTRAST ONLY OPACIFIED THE DISTAL CBD (BLUE ARROWHEAD).
AXIAL MR IMAGES SHOWING A BILOMA. NOTE THAT ON HEPATOBILIARY PHASE THERE IS A BILE LEAK (RED ARROWHEAD) TO THE BILOMA CAVITY.
T2WI
T1WI PRE-GD
VENOUS
HEPATOBILIARY
BILOMA
CHOLECYSTECTOMY METALLIC CLIP CAUSING INTRAHEPATIC BILE DUCT DILATATION
T2WI
MRCP
ERCP
MRCP
T2WI
T1WI-GRE
A GLANCE AT PATHOLOGY
OBSERVE THAT THE CHOLECYSTECTOMY METALLIC CLIP, ALONG WITH FIBROSIS AND POSSIBLE THERMIC LESIONS SECONDARY TO THE PROCEDURE, CAUSES PARTIAL OBSTRUCTION OF CBD (RED ARROWHEADS) WITH INTRA-HEPATIC BILE DUCTS DILATATION. T1WI-GRE SHOWS MAGNETIC SUSCEPTIBILITY ARTIFACT DUE TO THE METALLIC CLIP (BLUE ARROWHEAD).

## Slide 29
DISEASES RELATED TO BILIARY TRACT
MALIGNANT
NEOPLASIA
CHOLANGIOCARCINOMA
MALIGNANCY THAT ARISES FROM INTRAHEPATIC BILE DUCT (IHBD) OR EXTRAHEPATIC BILE DUCT EPITHELIUM
3D-MRCP DEMONSTRATES THE LONGITUDINAL EXTENT OF THE TUMOR ALONG THE COMMON BILE DUCT AND CONFLUENCE, EXTENDING TO RIGHT AND LEFT HEPATIC BILE DUCTS (RED CIRCLE), WITH MARKED INTRA-HEPATIC BILIARY DILATATION. AXIAL UNENHANCED T1-W, TOGETHER WITH MR IMAGES OBTAINED IN THE ARTERIAL PHASE, PORTAL VENOUS PHASE, AND EQUILIBRIUM PHASE, DEMONSTRATES INFILTRATIVE PERI-HILAR TUMOR (RED ARROWHEADS) WITH PROGRESSIVE ENHANCEMENT.
3D-MRCP
T1WI
PRE-GD
ARTERIAL
PORTAL
EQUILIBRIUM
A GLANCE AT PATHOLOGY

## Slide 30
A GLANCE AT PATHOLOGY
DISEASES RELATED TO BILIARY TRACT
MALIGNANT
NEOPLASIA
PANCREATIC HEAD ADENOCARCINOMA
MALIGNANCY THAT ARISES FROM DUCTAL EPITHELIUM OF EXOCRINE PANCREAS
MRCP IMAGE SHOWING DILATED INTRA AND EXTRA-HEPATIC BILE DUCTS AS WELL AS THE MAIN PANCREATIC DUCT WITH ABRUPT DISTAL OBSTRUCTION (RED CIRCLE). ADDITIONAL MRI SEQUENCES SHOW A TUMORAL MASS IN THE PANCREATIC HEAD COMPATIBLE WITH ADENOCARCINOMA (RED ARROWHEADS).
MRCP
T2WI
T1WI PRE-GD
DWI
ARTERIAL

## Slide 31
A GLANCE AT PATHOLOGY
DISEASES RELATED TO BILIARY TRACT
MALIGNANT
NEOPLASIA
GALLBLADDER CARCINOMA
MALIGNANCY THAT ARISES FROM GALLBLADDER EPITHELIUM.
MRI OF GALLBLADDER CARCINOMA. THERE IS IRREGULAR GALLBLADDER WALL THICKENING WITH AN INTRALUMINAL MASS COMPONENT, LOCATED IN THE GALLBLADDER INFUNDIBULUM (RED ARROWHEADS). THERE IS INVASION OF THE ADJACENT LIVER PARENCHYMA (BLUE ARROWHEADS) AND THE CONFLUENCE OF BOTH LEFT AND RIGHT MAIN BILIARY DUCTS, DETERMINING UPSTREAM DILATATION (GREEN ARROWHEADS).
2D-MRCP
T1WI PRE-GD
ARTERIAL
PORTAL
EQUILIBRIUM
T2WI
T1 WI
PORTAL
T2WI

## Slide 32
!
BE AWARE
PITFALLS

## Slide 33
THESE PITFALLS CAN BE CLASSIFIED INTO FOUR MAIN GROUPS:
PITFALLS RELATED TO TECHNIQUE AND RECONSTRUCTION ARTIFACTS
NORMAL VARIANTS MIMICKING PATHOLOGY IN MRCP
PITFALLS RELATED TO INTRA-DUCTAL
FACTORS
PITFALLS RELATED TO EXTRA-DUCTAL
FACTORS
MRCP RELATED PITFALLS OR DIAGNOSTIC ERRORS MAY HAVE A VARIETY OF CAUSES AND MAY SIMULATE OR CAMOUFLAGE VARIOUS DISEASES OF THE PANCREATOBILIARY TRACT.
THE AWARENESS OF THE VARIOUS PITFALLS RELATED TO MRCP IS CRUCIAL TO PREVENT MISINTERPRETATION
PITFALLS

## Slide 34
RELATED TO TECHNIQUE AND RECONSTRUCTION ARTIFACTS
SMALL FILLING DEFECTS OR STRICTURES CAN BE OBSCURED IN THICK SLAB MRCP AS THE SPATIAL RESOLUTION IS DEGRADED BECAUSE OF VOLUME AVERAGING EFFECTS.
MISSED FILLING DEFECTS AND OVER- OR UNDERESTIMATION OF STRICTURES CAN ALSO BE AFFECTED BY PARTIAL VOLUME EFFECTS THAT DEGRADE SPATIAL RESOLUTION IN MIP REFORMATIONS.
RESPIRATORY MOTION CAN MAKE THE BILIARY TREE SEEM STENOTIC, DILATED, DISCONNECTED OR DUPLICATED ON MIP REFORMATIONS.
IT IS MANDATORY TO REVIEW THE ORIGINAL THIN-SECTION DATA IN ORDER TO AVOID THESE PITFALLS
PITFALLS

## Slide 35
RELATED TO TECHNIQUE AND RECONSTRUCTION ARTIFACTS
IT IS MANDATORY TO REVIEW THE ORIGINAL THIN-SECTION DATA IN ORDER TO AVOID THESE PITFALLS
WHERE ARE THE CALCULI?
THICK-SLAB 2D MRCP
WHAT ABOUT NOW?
THIN-SLAB
3D MRCP
THICK-SLAB CAN OBSCURE SMALL STONES (CIRCLE)
RESPIRATORY MOTION ARTIFACTS MAKING IT IMPOSSIBLE TO EVALUATE THIS EXAM
PITFALLS

## Slide 36
NORMAL VARIANTS MIMICKING PATHOLOGY IN MRCP
A LONG CYSTIC DUCT RUNNING PARALLEL TO THE CBD (RED LINES) MAY SIMULATE A DILATED COMMON DUCT
A CONTRACTED CHOLEDOCHAL SPHINCTER (RED CIRCLES) MAY MIMIC AN IMPACTED STONE OR STRICTURE IN THE DISTAL CBD.
ANALYZING MRCP IN MULTIPLE IMAGING PLANES OR CARRYING OUT REPEAT MRCP IMAGING WILL HELP RESOLVE THESE PROBLEMS. ADDITIONAL MRI SEQUENCES SHOULD ALSO BE EVALUATED
LONG CYSTIC DUCT RUNNING PARALLEL TO CBD
PITFALLS

## Slide 37
PITFALLS RELATED TO INTRA-DUCTAL FACTORS
FILLING DEFECTS IN THE BILE TREE MAY BE SEEN ON MRCP NOT ONLY FROM CALCULI BUT ALSO FROM THE PRESENCE OF GAS, DEBRIS, HEMORRHAGE, TUMOR & “FLOW VOID”
PNEUMOBILIA IS SEEN AS A NON-DEPENDENT FILLING DEFECT ON THE AXIAL IMAGES, WHILE A SIGNAL VOID IN THE CENTRAL PART OF THE BILE DUCT IS DUE TO FLOW PHENOMENON AND MAY OCCUR IN DILATED DUCTS AND AT THE POINT OF INSERTION OF A LARGE CYSTIC DUCT
PERFORMING MRCP IN ADDITION TO OTHER MRI SEQUENCES (T1 + T2) AS WELL AS KNOWING THE PATIENT’S CLINICAL / SURGICAL BACKGROUND MAY HELP AVOID THESE PITFALLS
THE PRESENCE OF IODINATED CONTRAST MATERIAL IN THE BILIARY TREE REDUCES BILE’S SIGNAL INTENSITY.
PITFALLS

## Slide 38
WHAT SHOULD WE THINK ABOUT THIS FILLING DEFECT? (RED ARROWHEADS)
NOTICE THAT ON AXIAL T2WI IT APPEARS AS A NON-DEPENDENT LOW-SIGNAL IMAGE
PNEUMOBILIA
STONES
SINK
AIR
FLOATS
PITFALLS RELATED TO INTRA-DUCTAL FACTORS
PERFORMING MRCP IN ADDITION TO OTHER MRI SEQUENCES (T1 + T2) AS WELL AS KNOWING THE PATIENT’S CLINICAL / SURGICAL BACKGROUND MAY HELP AVOID THESE PITFALLS
PITFALLS

## Slide 39
SHOULD THIS BE CONSIDERED A
REAL FILLING DEFECT?
PSEUDO FILLING DEFECT CAUSED BY FLOW ARTIFACT (“FLOW VOID”)
HAVE YOU EVER HEARD OF BILIARY DUCT THROMBUS?
SEQUENCE OF AXIAL ENHANCED T1WI (LEFT) SHOWING HCC WITH INTRA BILE DUCT EXTENSION (BILIARY DUCT TUMORAL THROMBUS – BDTT). 3D-MRCP (RIGHT) SHOWS DUCTAL FILLING DEFECTS SECONDARY TO TUMORAL INVASION.
PITFALLS RELATED TO INTRA-DUCTAL FACTORS
PERFORMING MRCP IN ADDITION TO OTHER MRI SEQUENCES (T1 + T2) AS WELL AS KNOWING THE PATIENT’S CLINICAL / SURGICAL BACKGROUND MAY HELP AVOID THESE PITFALLS
PITFALLS

## Slide 40
PULSATILE VASCULAR COMPRESSION FROM ADJACENT VESSELS MAY MIMIC A BILE DUCT STRICTURE.
THE MOST COMMON SITE OF EXTRINSIC VASCULAR COMPRESSION IS THE COMMON HEPATIC DUCT, FOLLOWED BY THE LEFT HEPATIC DUCT, BOTH DUE TO THE RIGHT HEPATIC ARTERY CROSSING ITS POSTERIOR ASPECT
OVERLAPPING OF THE BILIARY TREE WITH OTHER STATIONARY FLUIDS (I.E. FROM ADJACENT BOWEL, CYSTIC COLLECTIONS, DIVERTICULI OR ASCITES) MAY ALSO CAUSE INTERPRETATION PROBLEMS.
PERFORMING OTHER MRI SEQUENCES (T1 + T2) IN ADDITION TO MRCP AS WELL AS KNOWING THE PATIENT’S CLINICAL / SURGICAL BACKGROUND MAY HELP AVOID THESE PITFALLS
PITFALLS RELATED TO EXTRA-DUCTAL FACTORS
PITFALLS

## Slide 41
PERFORMING OTHER MRI SEQUENCES (T1 + T2) IN ADDITION TO MRCP AS WELL AS KNOWING THE PATIENT’S CLINICAL / SURGICAL BACKGROUND MAY HELP AVOID THESE PITFALLS
PITFALLS RELATED TO EXTRA-DUCTAL FACTORS
THE UNAWARE RADIOLOGIST MAY BE FOOLED BY THIS
“FILLING DEFECT” (RED ARROWHEADS)... BUT NOT YOU!
CORONAL T2WI (LEFT) AND 3D-MRCP (RIGHT) SHOWING RIGHT HEPATIC ARTERY INTERPOSING COMMON HEPATIC BILE DUCT SIMULATING FILLING DEFECT
DID YOU REALLY THINK YOU WERE GOING TO BE FREE FROM CHOLECYSTECTOMY METALLIC CLIPS (RED CIRCLES)??
HERE IT IS ONCE AGAIN! MRCP IMAGES (LEFT) SHOW A PSEUDO-STRICTURE TO THE COMMON HEPATIC DUCT, CONFIRMED WITH THE AXIAL T1WI-GRE IMAGE (RIGHT)
PITFALLS

## Slide 42
REMEMBER THIS AEROBILIA CASE FROM THE PREVIOUS SLIDE?
DUODENUM
DIVERTICULUM
CBD
WELL, WELL, WELL... THERE IS ALSO A DUODENAL DIVERTICULUM THAT OBSCURES CBD DISTAL ANALYSIS
OVERLAPPING ASCITES OBSCURES THE BILIARY TREE ON MRCP
PITFALLS
PERFORMING OTHER MRI SEQUENCES (T1 + T2) IN ADDITION TO MRCP AS WELL AS KNOWING THE PATIENT’S CLINICAL / SURGICAL BACKGROUND MAY HELP AVOID THESE PITFALLS
PITFALLS RELATED TO EXTRA-DUCTAL FACTORS

## Slide 43
PITFALLS
PERFORMING OTHER MRI SEQUENCES (T1 + T2) IN ADDITION TO MRCP AS WELL AS KNOWING THE PATIENT’S CLINICAL / SURGICAL BACKGROUND MAY HELP AVOID THESE PITFALLS
PITFALLS RELATED TO EXTRA-DUCTAL FACTORS
PANCREATIC CYSTS OBSCURING DUCTAL EVALUATION
ALWAYS CHECK MULTIPLE IMAGING PLANES SO YOU WON’T BE FOOLED BY HEPATIC VESSELS MIMICKING CHOLECYSTOLITHIASIS
LET’S CHECK OUT IF YOU GOT THE DRIFT!
“STONES SINK, AIR FLOATS...” SO THESE ARE STONES, RIGHT?! (RED ARROWHEAD)
WRONG! CHECK AGAIN!

## Slide 44
“PEARLS OF WISDOM”
MRCP SHOULD ALWAYS BE CONSIDERED AS A GREAT NON-INVASIVE METHOD IN THE EVALUATION OF PANCREATOBILIARY DISORDERS, ESPECIALLY WHEN ASSOCIATED WITH ADDITIONAL MRI SEQUENCES, ALLOWING FOR BETTER EXAMINATION OF EXTRADUCTAL LESIONS AS WELL AS ADJACENT STRUCTURES.
WHEN EVALUATING AN MRCP IMAGE, PANCREATOBILIARY ANATOMY AND COMMON ANATOMIC VARIATIONS SHOULD ALWAYS BE IN THE RADIOLOGIST’S MIND.
IN ORDER TO AVOID PITFALLS RELATED TO TECHNIQUE AND RECONSTRUCTION ARTIFACTS, IT IS MANDATORY TO REVIEW THE ORIGINAL THIN-SECTION DATA.
ANALYZING MRCP IN MULTIPLE IMAGING PLANES AND CARRYING OUT REPEAT MRCP IMAGING WILL HELP RESOLVE PITFALLS RELATED TO ANATOMIC VARIATIONS THAT MIMIC DISEASES. ADDITIONAL MRI SEQUENCES SHOULD ALSO BE EVALUATED.
PERFORMING OTHER MRI SEQUENCES (T1 + T2) IN ADDITION TO MRCP, AS WELL AS KNOWING THE PATIENT’S CLINICAL/SURGICAL BACKGROUND, MAY HELP AVOID PITFALLS.

## Slide 45
SUGGESTED READING
Griffin N, Charles-Edwards G, and Grant LA. Magnetic Resonance Cholangiopancreatography: the ABC of MRCP. Insights into Imaging 2011;3(1):11–21.
Hintze RE, Adler A, Veltzke W, et al. Clinical significance of magnetic resonance cholangiopancreatography (MRCP) compared to endoscopic retrograde cholangiopancreatography (ERCP). Endoscopy 1997;29:182-187.
Irie H, Honda H, Tajima T, et al. Optimal MR Cholangiopancreatographic Sequence and Its Clinical Application. Radiology 1998;206:379-387.
Mortelé KJ, Rocha TC, Streeter JL, et al. Multimodality Imaging of Pancreatic and Biliary Congenital Anomalies. RadioGraphics 2006;26(3):715–731.
Sureka B, Bansal K, Patidar Y, et al. Magnetic Resonance Cholangiographic Evaluation of Intrahepatic and Extrahepatic Bile Duct Variations. Indian J Radiol Imaging 2016;26:22-32.

## Slide 46
ADDITIONAL READING
Aduna M, Larena JA, Martin D, et al. Bile Duct Leaks After Laparoscopic Cholecystectomy: Value of Contrast-Enhanced MRCP. Abdom Imaging 2005;30:480–487.
Hoeffel C, Azizi L, Lewin M, et al. Normal and Pathologic Features of the Postoperative Biliary Tract at 3D MR Cholangiopancreatography and MR Imaging. RadioGraphics 2006;26:1603–1620
Irie H, Honda H, Kuroiwa T, et al. Pitfalls in MR Cholangiopancreatographic Interpretation. RadioGraphics 2001;21(1):23–37.
O’Connor OJ, O’Neil S, Maher, MM. Imaging of Biliary Tract Disease. American Journal of Roentgenology 2011;197(4):W551–W558.
Singh A, Gelrud A, Agarwal B. Biliary Strictures: Diagnostic Considerations and Approach. Gastroenterology Report 2014;3(1):22–31.
Vitellas KM, Keogan MT, Spritzer CE, et al. MR Cholangiopancreatography of Bile and Pancreatic Duct Abnormalities With Emphasis on the Single-Shot Fast Spin-Echo Technique. RadioGraphics 2000;20:939–957.
Watanabe Y, Dohke M, Ishimori T, et al. Diagnostic Pitfalls of MR Cholangiopancreatography in the Evaluation of the Biliary Tract and Gallbladder. RadioGraphics 1999;19(2):415-429.